## Slide 1: Supplementary Figure 1. Amplification plot and melt curve analysis of primer F1
The amplification plot demonstrates the quantitative PCR (qPCR) results for varying template concentrations (0.1 pmol, 0.01 pmol, 0.001 pmol, and no template control [NTC]), showing the cycle threshold (Ct) values. The melt curve plot confirms the partial non-specificity of the amplified product in NTC by displaying a single peak at the expected melting temperature.

## Slide 2: Supplementary Figure 2. Amplification plot and melt curve analysis of primer F1.1
Image showing consistent amplification and melt curve profiles for varying template concentrations (0.1 pmol, 0.01 pmol, 0.001 pmol, and no template control [NTC]), indicating high specificity and no nonspecific amplification.

## Slide 3: Supplementary Figure 3. Amplification plot and melt curve analysis of primer F1.2
The amplification plot shows efficient amplification across varying template concentrations (0.1 pmol, 0.01 pmol, 0.001 pmol). The melt curve plot confirms the non-specificity.

## Slide 4: Supplementary Figure 4. Amplification plot and melt curve analysis of primer F1.3
The amplification plot shows efficient amplification across varying template concentrations (0.1 pmol, 0.01 pmol, 0.001 pmol). Presence of amplification in the no-template control (NTC) indicates complete binding of Primer F1.3 with the stem-loop primer rather than the intended folate oligo binding site.

## Slide 5: Supplementary Figure 5: Gel electrophoresis validation of primers
Gel electrophoresis results demonstrating the amplification specificity and efficiency of different primer variants (Primer 1, Primer 1.1, Primer 1.2, and Primer 1.3) for Folate-LT qPCR assay. The DNA ladder indicates molecular weights (50–1500 bp), and the expected amplicon size is 86–94 bp. Image shows the no non-specific reactions in primer F1.1 and F1.3 contrary to non-specific binding in primer F1 and F1.3.

## Slide 6: Supplementary Figure 6. Annealing temperature (Ta) for primer F1.1 for stem-loop primer
The amplification plot, melt curve analysis, and Ct value comparison indicate the optimal annealing temperature (Ta) for Primer F1.1 is between 40–45°C. This range ensures specific amplification and consistent Ct values.

## Slide 7: Supplementary Figure 7. Gel electrophoresis for optimal annealing temperature (Ta) for primer F1.1
The optimal annealing temperature for specific amplification was determined to be between 40–45°C, as indicated by clear and specific bands

## Slide 8: Supplementary Figure 8. Annealing temperature (Ta) for primer F1.2 for stem-loop primer
Amplification plot, melt curve analysis, and Ct values indicate the optimal Ta range is 40–45°C for specific and efficient amplification

## Slide 9: Supplementary Figure 9. Gel electrophoresis for optimal annealing temperature (Ta) for primer F1.2
Optimal Ta: 40–45 °C, as indicated by clear and specific bands without non-specific amplification.

## Slide 10: Supplementary Figure 10. Annealing temperature (Ta) for primer F1.1for qPCR
Amplification plot, melt curve analysis, and Ct values indicate the optimal Ta range is 40–45°C for specific and efficient amplification

## Slide 11: Supplementary Figure 11. Gel electrophoresis for optimal annealing temperature (Ta) for primer F1.1
The optimal annealing temperature (Ta) range was determined to be 40-45°C, where band intensity appears strongest with minimal non-specific amplification.

## Slide 12: Supplementary Figure 12. Annealing temperature (Ta) for primer F1.2 for qPCR
Amplification plot, melt curve analysis, and Ct values indicate the optimal Ta range is 55–60°C for specific and efficient amplification

## Slide 13: Supplementary Figure 13. Gel Electrophoresis for optimal annealing temperature (Ta) for primer F1.2
The optimal annealing temperature (Ta) range was determined to be 55-60°C, where band intensity appears strongest with minimal non-specific amplification.

## Slide 14: Supplementary Figure 14. Differential expression of FOLR1 mRNA across various cell lines
Data represents the relative expression levels of FOLR1 mRNA in HeLa, AGS, Jurkat, HEK293T cell lines, and blood samples. Error bars indicate standard deviation from triplicate experiments.

## Slide 15: Supplementary Figure 15. Confocal imaging- Expression of FOLR1 in HeLa and AGS cells visualized by immunofluorescence
Immunofluorescence analysis of FOLR1 (red) in HeLa and AGS cell lines. DAPI (blue) was used to stain nuclei. The merged images show the co-localization of FOLR1 with nuclei. Scale bars are included in each image.

## Slide 16: Supplementary Figure 16. Linear regression analysis of Ct Values vs. Log (CTC Units) in qPCR
The graph depicts the linear relationship between Ct values (Cycle Threshold) and the logarithmic transformation of CTC units, modelled by the equation y=−3.231x+29.689y=−3.231x+29.689 with an R2R2 value of 0.997, indicating a high degree of correlation and reliability in the calibration curve.

## Slide 17: Supplementary Figure 17. Linear regression analysis summary
Results of a linear regression analysis, including confidence intervals, goodness of fit, and statistical significance of the slope.